Adoption Handover Checklist

Table 1: SuDS Adoption Handover Checklist

| GENERAL INFORMATION |  |
| --- | --- |
| Site ID |  |
| Site Location and co-ordinates (GIS if appropriate) |  |
| Elements forming the SuDS scheme |  |
| Phase of scheme if part of a larger final system |  |
| Specific purpose of any parts of the scheme (e.g. biodiversity, wildlife and visual aspects) |  |
| Type of development |  |
| Period of developer maintenance (defects liability period) |  |
| Date of assessment |  |

| Check | Details | Acceptable (Y/N) | Details of Corrective Action Required | Corrective Action completed (date) |
| --- | --- | --- | --- | --- |
| GENERAL |  |  |  |  |
| Design approval checks satisfactory? |  |  |  |  |
| Construction inspection checks satisfactory? |  |  |  |  |
| ASSET INFORMATION |  |  |  |  |
| As constructed plans and survey submitted? |  |  |  |  |
| As constructed drainage calculations/models submitted if necessary (e.g. outside specified tolerances)? |  |  |  |  |
| Proprietary product information submitted, where applicable? |  |  |  |  |
| Asset listed on asset register or database? |  |  |  |  |
| MAINTENANCE INFORMATION |  |  |  |  |
| Full Maintenance Plan submitted? |  |  |  |  |
| Inspection and maintenance records indicate stated maintenance undertaken during 12 month maintenance period? |  |  |  |  |
| HANDOVER INSPECTION |  |  |  |  |
| Confirm inlets and outlets are clear. |  |  |  |  |
| Confirm correct planting in accordance with approved design is fully established. |  |  |  |  |
| Confirm no uneven settling of soil, channelling, unwanted ponding or erosion of bed or side slopes. If yes, give reason for defect (design or construction). |  |  |  |  |
| Confirm no evidence of construction sediment or unexpectedly rapid build-up of sediment. |  |  |  |  |
| Confirm that agreed maintenance access is clear. |  |  |  |  |
| Confirm permeable/porous surfaces are draining effectively and there is no unacceptable settlement. |  |  |  |  |
| Confirm that any permanent water levels are in accordance with the approved design. |  |  |  |  |
| SUITABILITY FOR ADOPTION |  |  |  |  |
| Good condition – Acceptable Minor defects – Acceptable subject to minor works (indicate, with reasons, whether cost should fall to developer or adopting body) Major defects – Not acceptable without substantial repair works (indicate, with reasons, whether cost should fall to developer or adopting body) |  |  |  |  |